## Testing
SELF REGULATORY INITIATIVE FOR MEDICAL IMAGING EQUIPMENT
TEMPLATE FOR THE COLLECTION OF MRI ENERGY CONSUMPTION DATA
This template is part of the COCIR SRI methodology* to measure the energy consumption of MRI equipment, developed by the COCIR ErP Steering Committee in the context of the Self-Regulatory Initiative on medical imaging equipment. Data to be filled in this template has to be produced according to the methodology.
Date:
Product tested by: | Data approved by:
Name: | Name:
Role: | Role:
Signature | Signature
“Self-regulatory Initiative for medical imaging equipment” Copyright © 2011 COCIR All Rights Reserved. All material in this document is, unless otherwise stated, the property of COCIR. Copyright and other intellectual property laws protect these materials. Reproduction or retransmission of the materials, in whole or in part, in any manner, without the prior written consent of the copyright holder, is an infringement of copyright law.

## Head
Please fill in orange cells |  |  |  |  | hours per day
24
Test measurements
Typical head measurement
Action | Endtime | Sequence duration | Power / kW | Time / h | Energy / kWh/sequence
localizer |  |  |  | 0 | 0
slice planning / adjustments
t2_tirm_tra_dark-fluid |  |  |  | 0 | 0
slice planning
t2_tse_sag_512 |  |  |  | 0 | 0
ep2d_diff_3scan_trace_p2 |  |  |  | 0 | 0
slice planning
t1_fl2d_tra |  |  |  | 0 | 0
contrast agent injection
t1_fl2d_tra |  |  |  | 0 | 0
slice planning
t1_fl2d_cor |  |  |  | 0 | 0
Action | Total time
average head examination total | 0:14 | kW | Time | kWh
sum scan time | 0:00 | #DIV/0! | 0 | 0
sum ready to measure time | 0:14 | 0 | 0.23917 | 0
|  | 0 | Total | 0

## Spine
Please fill in orange cells |  |  |  | hours per day
Test measurements |  |  |  | 24
typical spine measurement (lumbar spine)
Action | Sequence duration | Power / kW | Time / h | Energy / kWh/sequence
localizer |  |  | 0 | 0
slice planning / adjustments
t2_tse_sag_512 |  |  | 0 | 0
adjustments
t1_tse_sag_512 |  |  | 0 | 0
adjustments
t2_tse_tra |  |  | 0 | 0
adjustments
t1_tse_tra |  |  | 0 | 0
Action | Total time
typical spine measurement (lumbar spine) | 0:14 | KW | Time | kWh
sum scan time | 0:00 | #DIV/0! |  | 0
sum ready to measure time | 0:14 | 0 | 0.22806 | 0
|  | 0 | Total | 0

## Abdomen
Please fill in orange cells |  |  |  | hours per day
Test measurements |  |  |  | 24
typical abdomen measurement
Action | Sequence duration | Power / kW | Time / h | Energy / kWh/sequence
localizer |  |  | 0 | 0
slice planning / adjustments
t1_fl2d_in-opp_tra_p2_mbh |  |  | 0 | 0
slice planning / breath hold
t2_trufi_obl_ph_pat |  |  | 0 | 0
slice planning / breath hold
t2_tse_tra_p2_mbh_320 |  |  | 0 | 0
slice planning / breath hold
t1_vibe_fs_tra_p2_bh_320_pre |  |  | 0 | 0
contrast agent injection
t1_vibe_fs_tra_p2_bh_320_arterial |  |  | 0 | 0
breath hold
t1_vibe_fs_tra_p2_bh_320_venous |  |  | 0 | 0
5-10 min delay / breath hold
t1_vibe_fs_tra_p2_bh_320_equil |  |  | 0 | 0
breath hold
t1_vibe_fs_cor_p3_bh_288 |  |  | 0 | 0
Action | Total time
typical abdomen measurement | 0:23 | KW | Time | kWh
sum scan time | 0:00 | #DIV/0! |  | 0
sum ready to measure time | 0:23 | 0 | 0.37861 | 0
|  | 0 | Total | 0

## Knee
Please fill in orange cells |  |  |  | hours per day
24
typical knee measurement
Action | Sequence duration | Power / kW | Time / h | Energy / kWh/sequence
localizer |  |  | 0 | 0
slice planning / adjustments
localizer_sag+cor+tra |  |  | 0 | 0
slice planning / adjustments
t1_se_sag_p2_512 |  |  | 0 | 0
slice planning / adjustments
t2_tse_fs_sag_p2_320 |  |  | 0 | 0
slice planning
pd_tse_fs_cor_p2_512 |  |  | 0 | 0
slice planning
pd_tse_fs_tra_p2_512 |  |  | 0 | 0
patient out and data archiving
Action | Total time
typical knee measurement | 0:14 | KW | Time | kWh
sum scan time | 0:00 | #DIV/0! |  | 0
sum ready to measure time | 0:14 | 0 | 0.23611 | 0
|  | 0 | Total | 0

## Angio
Please fill in orange cells |  |  |  | hours per day
Test measurements |  |  |  | 24
typical angio measurement
Action | Duration | Power / kW | Time / h | Energy / kWh/sequence
I_flash_feet |  |  | 0 | 0
table movement / adjustments
II_flash_legs |  |  | 0 | 0
table movement / adjustments
III_flash_upper-legs |  |  | 0 | 0
table movement / adjustments
IV_flash_abdomen |  |  | 0 | 0
slice planning / adjustments
I_fl3d-cor_feet_pre |  |  | 0 | 0
table movement / slice planning / adjustments
II_fl3d-cor_legs_pre |  |  | 0 | 0
table movement / slice planning / adjustments
III_fl3d-cor_upper-legs_pre |  |  | 0 | 0
table movement / slice planning / adjustments
IV_fl3d-cor_abdomen_pre |  |  | 0 | 0
contrast agent injection / table movement / adjustments
IV_care_bolus_cor |  |  | 0 | 0
IV_fl3d-cor_abdolmen_post |  |  | 0 | 0
table movement
III_fl3d-cor_upper-legs_post |  |  | 0 | 0
table movement
II_fl3d-cor_legs_post |  |  | 0 | 0
table movement
I_fl3d-cor_feet_post |  |  | 0 | 0
Action | Total time
typical angio measurement | 0:16 | KW | Time | kWh
sum scan time | 0:00 | #DIV/0! |  | 0
sum ready to measure time | 0:16 | 0 | 0.26861 | 0
control calculation |  |  | Total | 0

## Calculations
Summary to calculate patients per day in given mix |  |  |  | Please fill in orange cells
Minutes
| Potential exam time per day (12h) | 720 |  | Product
minus | Non-Availability (equals to 2h fixed ready to measure time) | 120 |  | Product category
| Available potential scanning time | 600
[9 empty] | Time per patient / h |  |  | Energy per patient / kWh |  | Energy per day
| Action |  | Duration | Distribution | Normalized | Min per day | optimized patients that can be treated within this timeshare | scan | ready to measure | total | scan | ready to measure | total | Total energy per day (10h)
| average head examination total |  | 0:14 | 25 | 23.81% | 142.8571 | 9.9552 | 0:00 | 0:14 | 0:00 | 0 | 0 | 0 | 0
| typical spine measurement (lumbar spine) |  | 0:14 | 26 | 24.76% | 148.5714 | 10.8578 | 0:00 | 0:14 | 0:00 | 0 | 0 | 0 | 0
| typical abdomen measurement |  | 0:23 | 25 | 23.81% | 142.8571 | 6.2886 | 0:00 | 0:23 | 0:00 | 0 | 0 | 0 | 0
| typical knee measurement |  | 0:14 | 20 | 19.05% | 114.2857 | 8.0672 | 0:00 | 0:14 | 0:00 | 0 | 0 | 0 | 0
| typical angio measurement |  | 0:16 | 9 | 8.571% | 51.4286 | 3.191 | 0:00 | 0:16 | 0:00 | 0 | 0 | 0 | 0
|  |  |  | 105 | 1 | 600 | 38.3599 | [6 empty] | 0
|  | Time in Min | kW | kWh
| Energy for non-availability (2h for service, reliability etc. in which system is ready to measure) fixed | 120 | 0 | 0
| Off -time (12h) fixed | 720 | 0 | 0
| Per day: | Time |  | Energy
|  | min |  | kWh
| Off | 720 | 0 | 0
| Ready to measure | 720 | 0 | 0
| Scan | 0 | #DIV/0! | 0
| Sum of Energy per day for max. exams in given distribution | 1440 | 0 | 0
| Average kWh/Patient |  |  | 0